Simplified Process Completion Documentation

Please carefully review your Conditional Approval email (and any attachments) for any additional documentation requirements that are specific to your application. After reviewing the Conditional Approval email, please use this checklist to ensure that you provide all necessary project completion documentation. For any documents provided by National Grid, please verify that the legal contact information has been entered correctly.

| For DG Application: | Customer Submission | Utility Approval (or Comments) |
| --- | --- | --- |
| The Interconnecting Customer must complete and submit the following items prior to requesting that a new meter be installed (or scheduling a witness test). |
| 1 | Documentation for Metering (for net metering provide “a”) | C (or N/A) |  |
| a) | Schedule B | Additional Information Required for Net Metering Service | C (or N/A) |  |
| 2 | Exhibit A2 | Simplified Certificate of Completion (must be signed by the local code official at the time of the electrical inspection) | C |  |
| 3 | Commissioning Memo | Must be on Electrical Company/ Installation Contractor letterhead, signed and dated by the Electrical Company/ Installation Contractor: | C |  |
| a) | The system passed the “2 seconds shutdown, when utility disconnect is open” test. | C |  |
| b) | The system passed the “5 minutes before restart, after utility disconnect is closed” test. | C |  |
| c) | A visual inspection of the system confirms that the system matches the As-Built electrical One or Three line diagram dated_______. | C |  |
| 4 | A complete As-Built P.E.-One-Line Diagram (must be dated with the day of the commissioning test) | C |  |
| The Interconnecting Customer must provide clear pictures of the following pieces of equipment and plaques in both (a) wide-angle shots to provide context of the equipment locations and (b) close-up shots to ensure the legibility of any signage or permanent plaques. Note: Any permanent plaques must be suitable for the environment in which they are located and rated to last for the lifetime of the generation equipment. No stickers of any type will be accepted as permanent plaques for equipment that is located outside. All plaques as described in NEC 705.10, 705.12 (7), 690.56, 692.4 and 705.70 shall be installed when applicable. |
| 5 | All generator(s) or inverter(s) | C |  |
| 6 | Utility Revenue Meter, including the following (as applicable): | C |  |
| a) | Meter number on the front of the Utility Revenue Meter is legible | C |  |
| b) | A permanent plaque (visible at eye level) that includes a warning about the generator installed. | C |  |
| c) | If the AC Utility Disconnect Switch is not grouped with and adjacent to the Utility Revenue Meter, a permanent plaque (visible at eye level) that clearly identifies the location of the AC Utility Disconnect. | C (or N/A) |  |
| 7 | AC Utility Disconnect Switch (located outside, 24/7 accessible) | C |  |
| a) | A permanent plaque (visible at eye level) that reads “AC Utility Disconnect Switch”. | C |  |
| 8 | Current Limiting Device(s) (e.g. fuses and/or circuit breakers) | C |  |
| 9 | Customer-owned Production Meter(s) (if installed) | C (or N/A) |  |
| a) | If the customer-owned production meter is a revenue-grade meter (or otherwise looks similar to a National Grid utility revenue meter), a permanent plaque (visible at eye level) that reads “Customer-Owned Production Meter”. | C (or N/A) |  |
| 10 | Any new and existing Service Equipment (on/in/at the building) | C |  |
| a) | At each piece of Service Equipment (that is not grouped with and adjacent to all other pieces of service equipment on/in/at the building), a permanent plaque (visible at eye level) that describes and/or depicts the locations and accessibility of all pieces of service equipment on/in/at the building. | C (or N/A) |  |

|  | Customer Submission | Utility Approval (or Comments) |
| --- | --- | --- |
| After National Grid has completed any EPS modifications (as identified in the ISA) and the Interconnecting Customer has successfully submitted/completed all of the items listed above (and/or identified in the Conditional Approval email) National Grid will complete the following actions. |
| 1 | Installation of new ‘net’ and/or ‘bi-directional’ meter (if applicable) | N/A | C (or N/A) |
| a) | Requested | Once all other items have been satisfactorily completed, National Grid’s DG group will request the installation of a new meter. | N/A | C (or N/A) |
| b) | Installed | A new meter installation could take up to three weeks for installation after documentation and phone line are provided. | N/A | C (or N/A) |
| 2 | Authorization to Interconnect | This is an official authorization to activate and operate your generating system. | N/A | C |
| Warning: Operating your generator prior to receiving the Authorization to Interconnect may cause damage to National Grid’s electric power system or other customers’ equipment and will likely cause billing errors, which will result in additional charges on the customer’s bill. |

For additional information about the distributed generation interconnection process, please refer to National Grid’s Interconnection Process webpage for Distributed Generation: http://www.nationalgridus.com/narragansett/home/energyeff/4_interconnection-process.asp.